CONSTRUCTION MANAGEMENT III

PROJECT PHASE II

STRUCTURAL SYSTEM

Structural systems must be designed for strength and service. Strength implies the ability to resist applied loads where as service includes people comfort, operation of moveable equipment and protection from damage of the elements of the buildings such as cladding, windows and plumbing. The goal of this phase of VE analysis is to select a structural system that meets strength and service requirements while optimizing the value of the entire project. To select the optimum structural system each team should do the following:

1. Identify allowable construction types (i.e. 3 hrs, 2 hrs, etc.) from applicable code (Reference 1)

2. Develop a list of 3_structural systems (original design and 2 alternatives) satisfying code requirements. Describe these systems (e.g. for a 3-hrs noncombustible Structural Steel system, columns, beams, joists, and decking must be protected with fire proofing material or an appropriately fire-resistive ceiling of plaster, gypsum board, or fibrous panels). The description should be comprehensive, (i.e. include type of floor decking, floor framing, foundation type and typical span sizes).

3. Identify important criteria (relevant to your project) for selecting structural systems. List all the identified criteria in a table and briefly explain why are they important to your project.

4. Perform a cost analysis of the three systems based on the UNIFORMAT. Summarize your result in form WS4 p.376 of your Textbook

5. Discuss advantages and disadvantages of the three systems. Then, use form WS-12 to summarize your discussion.

6. Select the optimum structural system using the weighted evaluation procedure. (Use form WS-14, page 396 to perform this procedure). The weighted evaluation procedure consists of the Criteria Weighing Process and the Analysis Matrix. The Criteria Weighing Process identifies important criteria for comparison (e.g. cost, constructability, aesthetics, schedule), and establishes their relative importance. The analysis matrix is used to evaluate the three structural systems against each criteria and select the best system.

7. Develop a cost estimate of the original structural system using the MASTERFORMAT (Hint: use the Means Unit Cost Data book)

- Did you get exactly the same estimate as in step 4?

- If not, which estimate you think is more accurate?

- Which one was faster to perform?