CONSTRUCTION MANAGEMENT III PROJECT PHASE III ENVELOPE PHASE

The building envelope (exterior walls and roof) represents one of the most challenging segments of construction practice. The function of the envelope is to protect against natural forces including rain, wind, temperature changes, and earthquake forces. The goal of this phase of VE analysis is to select an envelope system that provides the required protection while optimizing the value of the entire project. The selection process will affect and/or be affected by many factors including:

•	Building outline

•	Floor to floor height.

•	Use of multiple materials

•	Detailing

•	Urban context

•	Project budget

•	Building Type

•	Weather and soil conditions

•	Required aesthetic & function

•	Future adaptability of the building

•	Redundancy (Single-thickness vs. double-
	thickness cavity walls)

•	Building trades involved

•	Constructability issues and ease of erection

•	Cladding weight

•	Need for hoisting equipment or scaffolding

•	Earthquake loads

•	Sound insulation

•	Fire

•	Maintenance costs

•	Initial costs

In this phase each team should do the following;

1. Select three exterior wall systems (original design and 2 alternatives) and three roofing systems (original design and 2 alternatives) that meet your project requirements.

2. Develop wall section highlighting the connectivity of the selected structural system to the three exterior wall systems and roofing systems.

3. Determine the construction cost of each exterior wall and roofing system, maintenance cost, replacement life. Use the Uniformat (Means assembly cost data) to calculate the cost of each system

4. Discuss advantages and disadvantages of the three systems (for both roofing and exterior wall system). Then, use two forms WS-12 to summarize your discussion.

5. Perform two life cycle cost analysis (form WS-13): one for the roofing system and the other for the exterior wall system. In the life cycle cost analysis, indicate the economic life of your project, and the interest rate. The analysis should not only consider costs associated with exterior walls and roofs but also interface costs (e.g. if a heavy exterior wall requires a change in foundation and/or structural system, include extra costs as interface costs),

6. Select an optimum exterior wall system and an optimum roofing system using the weighted evaluation procedure (form WS-14). Criteria for evaluation include: life cycle cost, aesthetics, Constructability, schedule, adaptability, etc.

7. For the original exterior wall system and original roofing system, calculate the initial cost using the Masterformat (Means unit cost data). Compare the results with those calculated in step 3.